## price list
supplier:
Tender "200 mm Semi-Automatic RF Probe System for
On-Wafer Measurements up to 250 GHz" - IHP-2026-033
Nr. | Name/description of the goods/services | Quantity | Einheit | Unit Price (EUR) | Total Price (EUR)
1 | Semi-automatic 200 mm RF probing system with controlled dry environment | 1 | piece
2 | Transport-compliant modular system design | 1 | piece
3 | Programmable XYZ microscope stage | 1 | piece
4 | High-resolution digital zoom video microscope | 1 | piece
5 | 5× objective lens | 1 | piece
6 | 200 mm non-thermal RF chuck | 1 | piece
7 | Programmable RF micropositioner – West configuration | 1 | piece
8 | Programmable RF micropositioner – East configuration | 1 | piece
9 | Probe station control software (perpetual license) | 1 | piece
10 | Integration hardware for Keysight NA5307A frequency extenders (4-port differential configurat | 1 | piece
11 | Adapter hardware for single-ended measurement configuration | 1 | piece
12 | On-wafer VNA calibration software suite (perpetual license) | 1 | piece
13 | Instrument shelf for VNA / semiconductor parameter analyzer | 1 | piece
14 | On-site installation, commissioning, acceptance test (ATP), and user training | 1 | piece
Total net amount
plus _______% VAT:
Total gross amount
Optional Item (Not Subject to Evaluation)
The following optional item shall be quoted separately. The quoted price will not be included in the evaluated bid
price and will not be considered for award evaluation.
Nr. | Name/description of the goods/services | Quantity | Einheit | Unit Price (EUR) | Total Price (EUR)
1 | Upgrade package enabling future integration of a thermal chuck, including all required mechanical, electrical, and software interfaces and associated documentation | 1 | piece
Total net amount
plus _______% VAT:
Total gross amount